## On-Site
Sub-System | Maintenance Duration | Access Duration | Interruptable | Crew Preparation Delay | Other Delay | Spare Parts Preparation Delay | Technicians Required | Specialists Required | Max Wave Height for Access | Max Wave Period for Access | Max Wind Speed for Access | Max Current Speed for Access | Max Wave Height for Maintenance | Max Wave Period for Maintenance | Max Wind Speed for Maintenance | Max Current Speed for Maintenance
Inter-Array Cables | 4 | 1 | False | 24 | 24 | 0 | 2 | 4 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Substations | 2 | 1 | False | 6 | 2 | 12 | 2 | 4 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Export Cable | 2 | 3 | False | 48 | 12 | 12 | 4 | 6 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Umbilical Cable | 2 | 3 | False | 48 | 12 | 12 | 4 | 6 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1

## Replacement
Sub-System | Maintenance Duration | Access Duration | Interruptable | Crew Preparation Delay | Other Delay | Spare Parts Preparation Delay | Technicians Required | Specialists Required | Max Wave Height for Access | Max Wave Period for Access | Max Wind Speed for Access | Max Current Speed for Access | Max Wave Height for Maintenance | Max Wave Period for Maintenance | Max Wind Speed for Maintenance | Max Current Speed for Maintenance
Inter-Array Cables | 4 | 1 | False | 24 | 24 | 0 | 2 | 4 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Substations | 2 | 1 | False | 6 | 2 | 12 | 2 | 4 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Export Cable | 2 | 3 | False | 48 | 12 | 12 | 4 | 6 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Umbilical Cable | 2 | 3 | False | 48 | 12 | 12 | 4 | 6 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1

## Inspections
Sub-System | Inspection Duration | Access Duration | Crew Preparation Delay | Other Delay | Technicians Required | Specialists Required | Max Wave Height for Access | Max Wave Period for Access | Max Wind Speed for Access | Max Current Speed for Access | Max Wave Height for Inspections | Max Wave Period for Inspections | Max Wind Speed for Inspections | Max Current Speed for Inspections
Inter-Array Cables | 2 | 1 | 24 | 24 | 2 | 4 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Substations | 1 | 1 | 6 | 2 | 2 | 4 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Export Cable | 1 | 3 | 48 | 12 | 4 | 6 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1
Umbilical Cable | 1 | 3 | 48 | 12 | 4 | 6 | 1 | 6 | 15 | 1 | 1 | 6 | 15 | 1